## Data Entry
MASS BALANCE CALCULATOR - DATA ENTRY
Enter your forced degradation study data below. Results calculate automatically.
Initial API % | 98
Stressed API % | 82.5
Initial Degradants % | 0.5
Stressed Degradants % | 4.9
Degradant MW (optional) | 250
Parent MW (optional) | 500
RRF (optional) | 0.8
Stress Type | Base
Sample ID (optional) | ABC-001
Analyst Name (optional) | Lab Analyst

## Calculations
CALCULATION RESULTS
Intermediate Calculations:
Delta API (%)
Delta Degradants (%)
Degradation Level (%)
Correction Factors:
Lambda (RRF Correction)
Omega (MW Correction)
Corrected Degradants
Mass Balance Results:
SMB (Simple Mass Balance)
AMB (Absolute Mass Balance)
RMB (Relative Mass Balance)
LK-IMB (Corrected Mass Balance)
Recommended Method:
Method
Value (%)
Status
Confidence Index

## Diagnostic Report
DIAGNOSTIC REPORT
Sample Information:
Sample ID:
Analyst:
Stress Type:
Analysis Date:
Results Summary:
Mass Balance:
Method Used:
Status:
Diagnostic Assessment:
Correction Factors Applied:
Lambda (RRF):
Omega (MW):
Regulatory Compliance:
This calculation follows ICH Q1A(R2) guidelines for mass balance assessment in forced degradation studies. Mass balance values between 95-105% are considered acceptable. Values outside this range require investigation per regulatory guidance.

## Trend Tracking
MASS BALANCE TREND TRACKING
Enter time-point data below. Chart updates automatically. Flags anomalies if MB increases over time.
Date | Time Point | Sample ID | SMB (%) | AMB (%) | RMB (%) | LK-IMB (%) | Anomaly Flag
2025-01-27 | Day 0 | ABC-001 | 98.5 | 100 | N/A | 100.2

## Instructions
USER INSTRUCTIONS & HELP
QUICK START GUIDE
Step 1: | Go to "Data Entry" tab
Step 2: | Enter your sample data in yellow cells
Step 3: | Results appear automatically in "Calculations" tab
Step 4: | Review diagnostic report in "Diagnostic Report" tab
Step 5: | For tracking over time, use "Trend Tracking" tab
FIELD DEFINITIONS
Initial API %: | Assay value of unstressed sample (typically 98-102%)
Stressed API %: | Assay value after stress condition applied
Initial Degradants %: | Sum of all degradant peaks in unstressed sample
Stressed Degradants %: | Sum of all degradant peaks in stressed sample
Degradant MW: | Molecular weight of degradation product (optional, improves accuracy)
Parent MW: | Molecular weight of parent compound (optional)
RRF: | Relative Response Factor from calibration curve (optional, default = 1.0)
Stress Type: | Type of stress applied (Acid/Base/Oxidative/Photolytic/Thermal)
UNDERSTANDING RESULTS
Green (95-105%): | Acceptable mass balance - no action required
Yellow (90-95%): | Requires investigation per ICH Q1A(R2)
Red (<90%): | Out of specification - immediate action required
WHEN TO USE WHICH METHOD
AMB: | Use when degradation < 2% (low degradation)
RMB: | Use when degradation is between 5-20% (moderate)
LK-IMB: | Use when degradation > 20% or fragmentation suspected
MASS BALANCE METHODS EXPLAINED
SMB: | Simple sum - NOT RECOMMENDED (ignores initial purity)
AMB: | Absolute method - good for low degradation levels
RMB: | Relative method - accounts for initial impurities
LK-IMB: | Lukulay-Körner corrected method - accounts for MW and RRF differences
TROUBLESHOOTING
Q: | Why is RMB showing "N/A"?
A: | Degradation is too low (<0.1%) - use AMB instead
Q: | My mass balance is <90%, what should I do?
A: | Check diagnostic message. Common causes: volatiles, UV-silent degradants, adsorption
REFERENCES
ICH Q1A(R2): | Stability Testing of New Drug Substances and Products
Lukulay et al: | Pharmaceutical Research (2006) - Stoichiometric corrections
Körner et al: | J. Pharm. Biomed. Anal. (2018) - RRF corrections